Data Sheet

Labclave-L Models

Standard Range Features

- Rectangular Chamber - Easy-glide vertical sliding door - Integral steam generator or direct steam options - Water jacket cooling - Up to 20-program touchscreen control system - Internal data archiving for up to 20000 cycles - Individual PIN codes for traceability - Fully self-contained - Small footprint

| Capacity | 150, 225, 300, 360 and 450 litres |
| --- | --- |
| Vessel Type | Rectangular Section, jacketed |
| Vessel Dimensions, mm | 600 x 500 x 515/745/1000 HWD (150/225/300-litre) 700 x 670 x 765/965 HWD (360/450-litre) |
| Shelves/Positions | 15-20 available positions dependant on vessel size |
| Pressure Vessel Material | High grade 316 stainless steel |
| Pressure Vessel Finish | Glass bead finish (RA value 2.5µm) |
| Pressure Vessel Compliance | Pressure Equipment Directive 97/23/EC and independently certified to PD5500:2000 Cat. 3 |
| Other Applicable Standards | BS3970 / BS2646 / HTM2010 (Optional) |
| Door Type | Easy-glide vertical sliding door |
| Door Seal | Floating |
| Steam Source | Integral steam generator or Direct Steam |
| Temp. Range, ˚C | 105-140 |
| Pressure Range | Zero (or 50 mbarA if vacuum fitted) to 3.1bar |
| Overall Dimensions, mm | See brochure for details |
| Control System | Up to 20-program touch-screen system. |
| Data Archiving | Internal flash-card system (up to 20 000 cycles) |
| Standard Cycle Features | Timed auto-start; batch no. input; operator ID |
| Silent Air Compressor | Included |
| Cooling Method | Water jacket cooling |

The above is the standard specification. Any modification/deviation for the above will be clearly identified on the quotation front sheet.