Data Sheet

OP Series Ovens

Features

- PID control with display of actual and set temperature

- Stainless steel radiused interior

- Adjustable shelf positions

- Adjustable vent

- Auto-recovery options

- Class 2 over temperature protection

| Cat. No. | OP60-U OP60-UF OP60-M OP60-MF | OP100-U OP100-UF OP100-M OP100-MF | OP150-U OP150-UF OP150-M OP150-MF | OP250-U OP250-UF OP250-M OP250-MF |
| --- | --- | --- | --- | --- |
| Capacity (litres) | 60 | 100 | 150 | 250 |
| Shelves Included | 2 | 2 | 2 | 3 |
| Temp. Range, ˚C | 40 to 250 | 40 to 250 | 40 to 250 | 40 to 250 |
| Internal Dims, HWD mm | 400 x 400 x 400 | 500 x 500 x 400 | 600 x 500 x 500 | 1000 x 500 x 500 |
| External Dims, HWD mm | 590 x 735 x 575 | 690 x 835 x 575 | 790 x 835 x 675 | 1190 x 835 x 675 |

The above is the standard specification. Any modification/deviation for the above will be clearly identified on the quotation front sheet